AL SHIFA LABORATORY

PHC Registration No. P-20787  ·  Circular Road, Jaranwala, Punjab

Policy / SOP

Emergency Policy & Standard Operating Procedures

| Document No. | ASL-POL-03 |
| --- | --- |
| Document Type | Policy / SOP |
| Version | 1.0 (Draft) |
| Status | DRAFT — PENDING PATHOLOGIST APPROVAL |
| Applies To | Al Shifa Laboratory, Circular Road, Jaranwala, Punjab (PHC Reg. No. P-20787) |
| Related MSDS Indicator(s) | #9 (ROM-3) |
| Effective Date | ___________________ (to be entered on approval) |
| Next Scheduled Review | 2–3 years from effective date (per locked SOP revision policy) |

# 1. Purpose

This policy defines how Al Shifa Laboratory management prepares for, responds to, and reviews emergencies that may affect laboratory operations, patients, or staff.

# 2. Scope

Applies to the laboratory premises at Circular Road, Jaranwala, all operating hours, and all staff and patients present on site.

# 3. Responsibility

- Dr. Munaim Tahir — overall emergency preparedness, resourcing, and post-incident review.

- Dr. Mubashr Ahmed — technical emergency response for biohazard, specimen, and equipment-related emergencies.

- All staff are trained in the procedures below at induction and refreshed per the In-Service Training Plan (ASL-POL-08).

# 4. Emergency Procedures

## 4.1 Fire / Electrical Emergency

- Switch off the affected equipment/mains power if safe to do so.

- Evacuate patients and staff calmly via the nearest exit.

- Call the Fire Brigade / Rescue 1122 if the fire is not immediately controllable.

- Do not re-enter until declared safe.

## 4.2 Biohazard Spill

Handled per the Biosafety SOP (ASL-SOP-13) spill response protocol — contain, don PPE, absorb, disinfect, dispose, and document.

## 4.3 Equipment Failure Affecting Reporting

- Notify Dr. Mubashr Ahmed immediately.

- Assess whether testing can continue on backup/manual methods; if not, notify affected patients of delay and, where clinically urgent, refer per the MOU (ASL-POL-01).

- Log the downtime and the resolution in the Emergency Incident Register.

## 4.4 Patient Medical Emergency During Collection

Handled per the First Aid & Emergency Patient Care Protocol (ASL-SOP-15).

## 4.5 Power Outage

- Protect temperature-sensitive reagents and specimens; keep refrigerator/freezer doors closed to preserve cold chain.

- Where an outage exceeds 2 hours, assess and document any affected reagents or in-process specimens.

# 5. Reporting & Review

Every emergency event is logged in the Emergency Incident Register (Date/Time | Nature of Emergency | Action Taken | Outcome | Staff Involved) and reviewed by management within 7 days of occurrence.

# 6. Communication

Emergency contact numbers (Rescue 1122, nearest hospital, Dr. Mubashr Ahmed, Dr. Munaim Tahir) are displayed at reception. This policy is briefed to every staff member at induction (ASL-POL-07) and staff awareness is periodically confirmed.

# Regulatory Basis

This document is the designated evidence for the following PHC MSDS indicator(s). Text is reproduced verbatim from the canonical indicator registry (docs/data/indicators_master.json) for traceability.

| Ind. ID | Standard | Wt. | Indicator Text (verbatim from PHC MSDS manual) | Compliance Requirements This Document Addresses |
| --- | --- | --- | --- | --- |
| 9 | ROM-3 | 80 | Those responsible for management lay down emergency policy and Standard Operating Procedures. | Written laboratory Emergency Policy and SOPs covering the above requirements. • The Emergency Policy and SOPs are available to the staff / patients for consultation. • The staff is aware of the emergency policy and SOPs. |

# Approval

This document does not become filed evidence until both signatures below are obtained. Per AccrediOps governance rules, drafts are never auto-published.

| Prepared By Signature: ______________________________ Name: Dr. Munaim Tahir Designation: Laboratory In-Charge / Administrative Head Date: ______________________________ | Reviewed & Approved By Signature: ______________________________ Name: Dr. Mubashr Ahmed Designation: Supervising Pathologist / Technical Head Date: ______________________________ |
| --- | --- |