AL SHIFA LABORATORY

PHC Registration No. P-20787  ·  Circular Road, Jaranwala, Punjab

SOP

Reagent Management SOP — Storage, Use & Labelling

| Document No. | ASL-POL-10 |
| --- | --- |
| Document Type | SOP |
| Version | 1.0 (Draft) |
| Status | DRAFT — PENDING PATHOLOGIST APPROVAL |
| Applies To | Al Shifa Laboratory, Circular Road, Jaranwala, Punjab (PHC Reg. No. P-20787) |
| Related MSDS Indicator(s) | #45 (MER-2), #48 (MER-2) |
| Effective Date | ___________________ (to be entered on approval) |
| Next Scheduled Review | 2–3 years from effective date (per locked SOP revision policy) |

# 1. Purpose

This SOP guides the safe storage, use, and labelling of all reagents and chemicals at Al Shifa Laboratory, per PHC guidance.

# 2. Scope

Applies to every reagent, chemical, and kit used at Al Shifa Laboratory, across all sections.

# 3. Storage Procedure

- Segregate by hazard class — oxidizers, flammables, acid liquids, and caustic liquids are stored separately, never in unsegregated alphabetical order.

- Store per manufacturer instruction for temperature, light, and humidity.

- Minimize over-ordering; issue and use reagents First-Expiry-First-Out (FEFO).

- Generate a near-expiry alert one month before expiry for each reagent lot.

- Keep storage areas tidy and uncluttered to reduce breakage/spillage risk.

- Dispose of expired reagents promptly per the Waste Management SOP (ASL-SOP-14).

# 4. Use Procedure

Reagents are issued and used strictly as per the manufacturer's instructions and the relevant test SOP. Any reagent nearing expiry is flagged and used first, or discarded if expired.

# 5. Labelling Requirement

Every dispensed reagent bottle must bear all of the following, without exception:

- Full name of the chemical/reagent.

- Concentration (strength).

- Date of dispensing.

- Date of expiry.

Labelling is the responsibility of whoever dispenses the reagent, verified during routine section checks by the Section Head.

# 6. Reagent Stock Register

| Reagent Name | Batch/Lot No. | Received | Expiry | Storage Location | Balance |
| --- | --- | --- | --- | --- | --- |

# Regulatory Basis

This document is the designated evidence for the following PHC MSDS indicator(s). Text is reproduced verbatim from the canonical indicator registry (docs/data/indicators_master.json) for traceability.

| Ind. ID | Standard | Wt. | Indicator Text (verbatim from PHC MSDS manual) | Compliance Requirements This Document Addresses |
| --- | --- | --- | --- | --- |
| 45 | MER-2 | 100 | Documented policies and procedures guide the safe storage and use of reagents | Written SOPs which guide safe storage and use of reagents. • Issuance and use as per SOPs. |
| 48 | MER-2 | 100 | Labelling of reagents is as per SOPs | The labels must bear the following: • Full name of chemical/reagent • Concentration (strength) • Date of dispensing • Date of expiry |

# Approval

This document does not become filed evidence until both signatures below are obtained. Per AccrediOps governance rules, drafts are never auto-published.

| Prepared By Signature: ______________________________ Name: Dr. Munaim Tahir Designation: Laboratory In-Charge / Administrative Head Date: ______________________________ | Reviewed & Approved By Signature: ______________________________ Name: Dr. Mubashr Ahmed Designation: Supervising Pathologist / Technical Head Date: ______________________________ |
| --- | --- |