AL SHIFA LABORATORY

PHC Registration No. P-20787  ·  Circular Road, Jaranwala, Punjab

Policy / SOP

Quality Assurance Program & Focal Person Designation

| Document No. | ASL-POL-11 |
| --- | --- |
| Document Type | Policy / SOP |
| Version | 1.0 (Draft) |
| Status | DRAFT — PENDING PATHOLOGIST APPROVAL |
| Applies To | Al Shifa Laboratory, Circular Road, Jaranwala, Punjab (PHC Reg. No. P-20787) |
| Related MSDS Indicator(s) | #63 (QA-1), #64 (QA-1) |
| Effective Date | ___________________ (to be entered on approval) |
| Next Scheduled Review | 2–3 years from effective date (per locked SOP revision policy) |

# 1. Purpose

This document establishes Al Shifa Laboratory's documented Quality Assurance (QA) Program, covering both Internal Quality Assurance (IQA) and External Quality Assurance (EQA), and designates the QA Focal Person.

# 2. Scope

Applies to the whole laboratory, all sections, all tests.

# 3. QA Focal Person Designation

Dr. Munaim Tahir is designated as QA Focal Person for Al Shifa Laboratory, responsible for: coordinating IQA and EQA activities; maintaining QA records; liaising with the EQA scheme provider; reviewing non-conformances; and reporting QA status to Dr. Mubashr Ahmed.

# 4. Internal Quality Assurance (IQA)

- Daily/batch-wise control testing procedures per the relevant test SOP.

- Calibration and maintenance schedule for all equipment, maintained as recurring evidence.

- Duplicate/repeat testing protocol for any outlier or unexpected result.

- Temperature monitoring logs for reagent and specimen storage.

# 5. External Quality Assurance (EQA)

Al Shifa Laboratory participates in an external proficiency testing scheme appropriate to its scope of routine Hematology, Microbiology, Biochemistry, and Immunology testing. [PLACEHOLDER: name and accreditation of the specific EQA scheme provider to be entered once enrolment is finalized.] Minimum participation frequency is annual, with documented corrective action on any unsatisfactory result.

# 6. Non-Conformance & Corrective Action

Any QA deviation — IQA or EQA — is logged in the QA Non-Conformance Register, subjected to root cause analysis, assigned a corrective action, and the effectiveness of that action is verified at the next review.

# 7. QA Review Meeting

Dr. Munaim Tahir and Dr. Mubashr Ahmed review QA status quarterly. Minutes of each review are recorded and retained as recurring evidence.

# Regulatory Basis

This document is the designated evidence for the following PHC MSDS indicator(s). Text is reproduced verbatim from the canonical indicator registry (docs/data/indicators_master.json) for traceability.

| Ind. ID | Standard | Wt. | Indicator Text (verbatim from PHC MSDS manual) | Compliance Requirements This Document Addresses |
| --- | --- | --- | --- | --- |
| 63 | QA-1 | 80 | The laboratory has Quality Assurance SOPs | Written SOPs on laboratory QA covering both IQA and EQA components. |
| 64 | QA-1 | 100 | There is designated focal person responsible for Quality Assurance (QA) activities in laboratory | Designation of focal person with clear responsibilities regarding QA in the laboratory. |

# Approval

This document does not become filed evidence until both signatures below are obtained. Per AccrediOps governance rules, drafts are never auto-published.

| Prepared By Signature: ______________________________ Name: Dr. Munaim Tahir Designation: Laboratory In-Charge / Administrative Head Date: ______________________________ | Reviewed & Approved By Signature: ______________________________ Name: Dr. Mubashr Ahmed Designation: Supervising Pathologist / Technical Head Date: ______________________________ |
| --- | --- |