AL SHIFA LABORATORY

PHC Registration No. P-20787  ·  Circular Road, Jaranwala, Punjab

SOP / Policy

Biosafety SOP & Governance

| Document No. | ASL-SOP-13 |
| --- | --- |
| Document Type | SOP / Policy |
| Version | 1.0 (Draft) |
| Status | DRAFT — PENDING PATHOLOGIST APPROVAL |
| Applies To | Al Shifa Laboratory, Circular Road, Jaranwala, Punjab (PHC Reg. No. P-20787) |
| Related MSDS Indicator(s) | #79 (BSBS-1), #80 (BSBS-1), #81 (BSBS-1) |
| Effective Date | ___________________ (to be entered on approval) |
| Next Scheduled Review | 2–3 years from effective date (per locked SOP revision policy) |

# 1. Purpose

This document establishes Al Shifa Laboratory's comprehensive and coordinated Biosafety Program.

# 2. Scope

Applies to the whole laboratory and all staff, at all times.

# 3. Biosafety Officer Designation

Kinza (BS MLT) is designated as the qualified Biosafety Officer for Al Shifa Laboratory, responsible for: implementation and monitoring of this SOP; PPE compliance checks; spill response; delivery of biosafety training; and reporting biosafety incidents to Dr. Mubashr Ahmed.

# 4. Core Biosafety Procedures

- Standard/universal precautions — every specimen is treated as potentially infectious.

- PPE per task: gloves at all times when handling specimens; mask and apron added for any splash-risk procedure.

- Hand hygiene before and after every patient contact and specimen handling episode.

- Sharps are disposed of immediately into puncture-resistant sharps containers — never recapped by hand.

- Work surfaces are decontaminated at the start and end of each day, and immediately after any spill.

- Access to technical work areas is restricted to laboratory staff.

- No eating, drinking, or applying cosmetics in technical work areas.

- Hepatitis B vaccination is recommended for all laboratory staff handling specimens.

# 5. Biohazard Spill Response Protocol

- Contain the spill area.

- Don appropriate PPE.

- Absorb the spilled material.

- Disinfect the area with 1% sodium hypochlorite (or equivalent).

- Dispose of contaminated materials per the Waste Management SOP (ASL-SOP-14).

- Document the incident in the Biosafety Incident Register.

# 6. Communication & Training

A copy of this SOP is provided to every staff member at induction (ASL-POL-07) and kept accessible in the laboratory. Biosafety training is refreshed per the In-Service Training Plan (ASL-POL-08). Every training/briefing episode is logged in the Biosafety SOP Acknowledgement Register (Name | Date Trained | Trainer | Signature).

# 7. Incident Reporting

Any biosafety incident (needle-stick, spill, exposure) is logged in the Biosafety Incident Register within 24 hours, reviewed by Kinza (BS MLT) and Dr. Mubashr Ahmed, with corrective action documented.

# Regulatory Basis

This document is the designated evidence for the following PHC MSDS indicator(s). Text is reproduced verbatim from the canonical indicator registry (docs/data/indicators_master.json) for traceability.

| Ind. ID | Standard | Wt. | Indicator Text (verbatim from PHC MSDS manual) | Compliance Requirements This Document Addresses |
| --- | --- | --- | --- | --- |
| 79 | BSBS-1 | 100 | Availability of laboratory Biosafety SOPs | Documented laboratory Biosafety SOPs available. |
| 80 | BSBS-1 | 100 | Biosafety SOPs are communicated to the laboratory employees | Record confirms that copies of written Biosafety SOPs are provided to the laboratory employees. • Record confirms that the staff was trained to implement these SOPs. • Staff are aware of these SOPs. |
| 81 | BSBS-1 | 100 | The laboratory has designated qualified technician for ensuring biosafety activities | Designation of a qualified technician for ensuring biosafety activities. |

# Approval

This document does not become filed evidence until both signatures below are obtained. Per AccrediOps governance rules, drafts are never auto-published.

| Prepared By Signature: ______________________________ Name: Dr. Munaim Tahir Designation: Laboratory In-Charge / Administrative Head Date: ______________________________ | Reviewed & Approved By Signature: ______________________________ Name: Dr. Mubashr Ahmed Designation: Supervising Pathologist / Technical Head Date: ______________________________ |
| --- | --- |