| Al Shifa Laboratory Circular Road, Jaranwala |  |  | Doc Code: DOC-BSBS-02 Version: 1.0 |
| --- | --- | --- | --- |
| WASTE MANAGEMENT SOP |  |  |  |
| Effective Date: | ________________ | Review Date: | ________________ |
| Document Type: | SOP | Status: | Waiting for Approval |

## PHC/MSDS MAPPING

| Functional Area | BSBS |
| --- | --- |
| Standard | BSBS-6 |
| Indicator(s) | IND-092, IND-093, IND-094, IND-095, IND-096 |
| Evidence Pack | BSBS - Biosafety, Biosecurity & Waste Pack |

## DOCUMENT BODY

**Related PHC/MSDS Indicator(s):** IND-092, IND-093, IND-094, IND-095, IND-096

### 1. Healthcare Waste Management SOP

Ensures safe handling and disposal of laboratory waste per EPA guidelines.

### 2. Waste Segregation Protocol

Waste must be segregated at the source using color-coded bins:

**Yellow Bin / Bag:** Infectious waste (swabs, contaminated tissue, tubes with blood).

**Red Bin / Sharp Container:** Sharps (needles, lancets, broken glass) - Must be puncture-proof.

**White / Black Bin:** General municipal waste (paper, wrappers).

### 3. Temporary Storage & Disposal

Infectious waste bags must not be filled beyond 3/4 capacity.

Bags are sealed and stored in a designated secure area away from the public.

Final disposal is handed over to a certified waste management contractor.

### 4. Display Requirement

A visual chart showing waste segregation color codes must be displayed near the washing/disposal sinks.

---

## APPROVAL & AUTHORIZATION

| Prepared by: Dr. Muhammad Munaim Tahir Lab Manager / In-charge Signature: ___________________ Date: ___________________ | Reviewed and Approved by: Dr. Mubasher Ahmed Consultant Pathologist Signature: ___________________ Date: ___________________ |
| --- | --- |