| Al Shifa Laboratory Circular Road, Jaranwala |  |  | Doc Code: DOC-FMS-01 Version: 1.0 |
| --- | --- | --- | --- |
| FIRE AND NON-FIRE EMERGENCY SOP |  |  |  |
| Effective Date: | ________________ | Review Date: | ________________ |
| Document Type: | SOP | Status: | Waiting for Approval |

## PHC/MSDS MAPPING

| Functional Area | FMS |
| --- | --- |
| Standard | FMS-3 |
| Indicator(s) | IND-019, IND-020, IND-021 |
| Evidence Pack | FMS - Facility, Safety & Emergency Pack |

## DOCUMENT BODY

**Related PHC/MSDS Indicator(s):** IND-019, IND-020, IND-021

### 1. Purpose

To ensure the safety of patients, staff, and visitors during various laboratory emergencies.

### 2. Emergency Types

The laboratory identifies and prepares for the following:

**Fire Emergency:** Response to smoke or flames.

**Electrical Failure:** Safe shutdown of equipment and backup power use.

**Chemical/Biological Spill:** Immediate containment and cleaning protocols.

**Accident / Injury:** First aid and referral procedures.

**Security / Violence:** Handling disruptive behavior.

### 3. General Response Protocol

**Safety First:** Evacuate patients and visitors if necessary.

**Alert:** Inform the Lab Manager immediately.

**Contact:** Use the "Emergency Contact List" for Fire Brigade, Ambulance, or Police.

**Action:** Use available safety equipment (Fire Extinguishers) only if safe to do so.

### 4. Staff Responsibility

All staff must be familiar with the location of emergency exits and fire extinguishers. Mock drills are conducted annually.

### 5. Display

This policy summary and the emergency contact list must be displayed near the laboratory entrance.

---

## APPROVAL & AUTHORIZATION

| Prepared by: Dr. Muhammad Munaim Tahir Lab Manager / In-charge Signature: ___________________ Date: ___________________ | Reviewed and Approved by: Dr. Mubasher Ahmed Consultant Pathologist Signature: ___________________ Date: ___________________ |
| --- | --- |