| Al Shifa Laboratory Circular Road, Jaranwala |  |  | Doc Code: DOC-MER-01 Version: 1.0 |
| --- | --- | --- | --- |
| REAGENT STORAGE AND USE SOP |  |  |  |
| Effective Date: | ________________ | Review Date: | ________________ |
| Document Type: | SOP | Status: | Waiting for Approval |

## PHC/MSDS MAPPING

| Functional Area | MER |
| --- | --- |
| Standard | MER-2 |
| Indicator(s) | IND-045, IND-046, IND-047, IND-048 |
| Evidence Pack | MER - Equipment & Reagent Management Pack |

## DOCUMENT BODY

**Related PHC/MSDS Indicator(s):** IND-045, IND-046, IND-047, IND-048

### 1. Reagent Storage and Use SOP

Ensures reagents maintain their efficacy.

### 2. Storage Guidelines

Reagents must be stored strictly according to manufacturer instructions (e.g., 2-8°C, -20°C, or Room Temp).

Refrigerators must be monitored daily (Temperature Log).

Food items are strictly prohibited in reagent refrigerators.

### 3. Reagent Labeling Format

When reagents are prepared in-house or transferred to secondary containers, they must bear the following label:

**Reagent Name:**

**Concentration:**

**Date Prepared/Opened:**

**Expiry Date:**

**Prepared By (Initials):**

### 4. Near-Expiry Alert

Reagents expiring within the month must be flagged visually (e.g., red sticker) and noted in the log.

---

## APPROVAL & AUTHORIZATION

| Prepared by: Dr. Muhammad Munaim Tahir Lab Manager / In-charge Signature: ___________________ Date: ___________________ | Reviewed and Approved by: Dr. Mubasher Ahmed Consultant Pathologist Signature: ___________________ Date: ___________________ |
| --- | --- |