| Al Shifa Laboratory Circular Road, Jaranwala |  |  | Doc Code: DOC-BSBS-01 Version: 1.0 |
| --- | --- | --- | --- |
| BIOSAFETY SOP |  |  |  |
| Effective Date: | ________________ | Review Date: | ________________ |
| Document Type: | SOP | Status: | Waiting for Approval |

## PHC/MSDS MAPPING

| Functional Area | BSBS |
| --- | --- |
| Standard | BSBS-1 |
| Indicator(s) | IND-079, IND-080 |
| Evidence Pack | BSBS - Biosafety, Biosecurity & Waste Pack |

## DOCUMENT BODY

**Related PHC/MSDS Indicator(s):** IND-079, IND-080

### 1. Biosafety and Spill Management SOP

Ensures the protection of staff and the environment from biological hazards.

### 2. General Biosafety Rules

PPE (Gloves, Lab Coats, Masks) is mandatory in the analytical area.

Mouth pipetting is strictly prohibited.

Eating, drinking, and applying cosmetics in the lab are prohibited.

Hands must be washed after handling samples and before leaving the lab.

### 3. Spill Management Protocol (Spill Kit)

**Spill Kit Contents:** Hypochlorite solution (10%), absorbent material, forceps/scoop, biohazard bags, heavy-duty gloves, safety goggles.

**Procedure:**

Wear PPE.

Cover the spill with absorbent material.

Pour 10% Hypochlorite over the material and wait 20 minutes.

Collect carefully using forceps and discard in a yellow biohazard bag.

Mop the area with water.

### 4. Sample Transportation

Samples transported from collection centers must be in sealed, leak-proof primary containers.

Secondary transport boxes must be rigid, insulated, and contain cool packs to maintain cold chain.

Transport boxes must display a Biohazard symbol.

### 5. Responsibility

The appointed Biosafety Focal Person monitors compliance and maintains the Incident Register.

---

## APPROVAL & AUTHORIZATION

| Prepared by: Dr. Muhammad Munaim Tahir Lab Manager / In-charge Signature: ___________________ Date: ___________________ | Reviewed and Approved by: Dr. Mubasher Ahmed Consultant Pathologist Signature: ___________________ Date: ___________________ |
| --- | --- |