| Al Shifa Laboratory Circular Road, Jaranwala |  |  | Doc Code: DOC-QA-01 Version: 1.0 |
| --- | --- | --- | --- |
| QUALITY ASSURANCE SOP (IQA & EQA) |  |  |  |
| Effective Date: | ________________ | Review Date: | ________________ |
| Document Type: | SOP | Status: | Waiting for Approval |

## PHC/MSDS MAPPING

| Functional Area | QA |
| --- | --- |
| Standard | QA-1 |
| Indicator(s) | IND-063, IND-064, IND-065 |
| Evidence Pack | QA - Quality Assurance Pack |

## DOCUMENT BODY

**Related PHC/MSDS Indicator(s):** IND-063, IND-064, IND-065

### 1. Purpose

To define the Quality Assurance (QA) program for Al Shifa Laboratory, covering both Internal Quality Assurance (IQA) and External Quality Assurance (EQA).

### 2. Scope

Applies to all analytical processes within the laboratory.

### 3. Internal Quality Assurance (IQA)

Control samples shall be run daily or with each batch of tests as appropriate.

IQA results must be documented in the IQA Control Record.

Any out-of-range results require immediate corrective action before patient testing resumes.

The QA Focal Person will review IQA records weekly.

### 4. External Quality Assurance (EQA)

The laboratory participates in recognized EQA schemes for core parameters.

EQA samples are processed blindly like normal patient samples.

EQA reports are reviewed by the Consultant Pathologist.

Poor EQA performance requires documented root cause analysis and corrective action.

### 5. Staff Awareness

All technical staff must be trained on this SOP and sign the awareness log.

---

## APPROVAL & AUTHORIZATION

| Prepared by: Dr. Muhammad Munaim Tahir Lab Manager / In-charge Signature: ___________________ Date: ___________________ | Reviewed and Approved by: Dr. Mubasher Ahmed Consultant Pathologist Signature: ___________________ Date: ___________________ |
| --- | --- |