## Indicator Classification
ID | Domain | Standard Code | Standard Title | Indicator Text | Weightage % | Allows Partial | Compliance Requirements | Suggested Category | Suggested Frequency | Suggested Evidence Format | Confidence | Your Category | Your Frequency | Your Evidence Format | Notes
1 | ROM | ROM-1 | The laboratory is easily identifiable. | The laboratory is identifiable with name on a sign board | 100 | No | Sign board clearly displaying name of the laboratory or the collection center as the case may be. ¦ Sign board/s placed appropriately for clear visibility. | physical |  | photo | medium | physical |  | photo
2 | ROM | ROM-1 | The laboratory is easily identifiable. | The laboratory sign board conforms to the prescribed local legal standards | 100 | No | Sign board size should conform to the local legal standards. ¦ Sign board fixation should conform to the local legal/technical/safety standards. | physical |  | photo | high | physical |  | photo
3 | ROM | ROM-1 | The laboratory is easily identifiable. | The laboratory is registered / licensed with the PHC | 80 | Yes | PHC registration / license number clearly displayed on the sign board/separately. ¦ Registration certificate/license with PHC displayed at a prominent place inside the laboratory. ¦ Copy of PM&DC registration certificate of the Pathologist heading the laboratory displayed at a prominent place inside the laboratory. | physical |  | photo | high | physical |  | photo
4 | ROM | ROM-1 | The laboratory is easily identifiable. | Associated collection canters are reflected in the registration certificate / license issued by the PHC | 80 | Yes | Evidence of reflecting the list of collection centers of the laboratory, if any, in the application for registration/license with the PHC. ¦ Registration Certificate of laboratory under PHC Act accordingly having License/Provisional License # linked with serial # of the Collection Center (clinical Laboratory Reg #/Collection Center serial # in the list) e.g. (PCL#/CC#). ¦ Evidence of having applied for licensure in case it is not licensed. | needs_review |  | document | low | needs_review |  | document
5 | ROM | ROM-1 | The laboratory is easily identifiable. | Signed valid MOU, showing linkage with any other laboratory or organization for referral of specialized tests, exists[^2]. | 100 | No | Written and valid MOU with referral laboratory which fulfills above requirements. | one_time |  | document | medium | one_time |  | document
6 | ROM | ROM-2 | A technically qualified and experienced individual heads the laboratory | The individual heading the laboratory has requisite and appropriate technical qualification and experience | 100 | No | A Pathologist currently having valid PM&DC registration is appointed as technical head of the laboratory. ¦ The qualification of the pathologist is commensurate with the scope of service of the laboratory. ¦ JD of the head of the laboratory in addition to other duties includes the binding clause regarding physical presence of pathologist for the time required in line with the scope of services. | recurring | daily | structured_form | high | recurring | daily | structured_form
7 | ROM | ROM-3 | Responsibilities of management are defined | Those responsible for lab management lay down the laboratory's mission statement. | 80 | Yes | Documented mission statement that fulfills the above requirements ¦ Mission statement is and displayed for the staff and patients to view. | physical |  | photo | low | physical |  | photo
8 | ROM | ROM-3 | Responsibilities of management are defined | Those responsible for management lay down detailed Laboratory Policy and Standard Operating Procedures (SOPs). | 100 | No | Written laboratory Policy and SOPs available. ¦ Evidence of involvement of senior leadership, including those involved in the laboratory’s management, in the process of developing policy and SOPs. ¦ Staff is aware of the laboratory Policy and SOPs. | one_time |  | document | high | one_time |  | document
9 | ROM | ROM-3 | Responsibilities of management are defined | Those responsible for management lay down emergency policy and Standard Operating Procedures. | 80 | Yes | Written laboratory Emergency Policy and SOPs covering the above requirements. ¦ The Emergency Policy and SOPs are available to the staff / patients for consultation. ¦ The staff is aware of the emergency policy and SOPs. | one_time |  | document | high | one_time |  | document
10 | ROM | ROM-3 | Responsibilities of management are defined | Those responsible for management approve sufficient laboratory budget and allocate the resources required to accomplish the mission. | 100 | No | The premises of the laboratory has adequate space suitable for the required activities. ¦ The staff, equipment and consumables remain available to support the scope of laboratory services. ¦ No evidence of delay in reporting the test results on account of non-availability of equipment, kits/reagents or the concerned staff. | one_time |  | document | low | one_time |  | document
11 | ROM | ROM-3 | Responsibilities of management are defined | Those responsible for management establish the laboratory's organogram. | 80 | Yes | The Organogram prepared as above is documented. ¦ The organogram is displayed for patients and the staff. | physical |  | photo | low | physical |  | photo
12 | ROM | ROM-3 | Responsibilities of management are defined | Those responsible for management appoint the section heads in the laboratory. | 80 | Yes | The section heads are appointed ¦ Evidence of adopting due process for appointing section heads i.e. under the signatures of the technical head of the laboratory. | one_time |  | document | low | one_time |  | document
13 | ROM | ROM-3 | Responsibilities of management are defined | Those responsible for management support research activities[^6]. | 100 | No | Research approved by the management and its printed report. OR ¦ Record of sharing disease related data with relevant authorities /research organizations ensuring patient confidentiality. | recurring | periodic_unspecified | photo | high | recurring | periodic_unspecified | photo
14 | FMS | FMS-1 | The management is aware of and complies with the relevant laws, bylaws, rules and regulations, and facility inspection requirements under the relevant building and associated codes applicable to laboratories. | The management is conversant with the relevant laws and regulations and knows their applicability to the laboratory | 80 | Yes | Copies of current/updated relevant laws, regulations and rules available (Annexure-A). ¦ Laboratory staff is aware of the relevant laws, regulations and rules and knows as to how the those relate to their functioning. ¦ Compliance of relevant laws, regulations and rules is observable. | physical |  | photo | medium | physical |  | photo
15 | FMS | FMS-1 | The management is aware of and complies with the relevant laws, bylaws, rules and regulations, and facility inspection requirements under the relevant building and associated codes applicable to laboratories. | The management regularly updates any amendments in the prevailing relevant laws and rules | 100 | No | Evidence that process to keep the relevant laws, regulations and rules properly updated is adopted. | recurring | periodic_unspecified | photo | medium | recurring | periodic_unspecified | photo
16 | FMS | FMS-1 | The management is aware of and complies with the relevant laws, bylaws, rules and regulations, and facility inspection requirements under the relevant building and associated codes applicable to laboratories. | The management ensures implementation of these requirements[^7] | 80 | Yes | Evidence that the relevant laws, regulations and rules are properly implemented, for example: ¦ Implementation of PHWM Rules 2014 in such a way that all key requirements are clearly observable. ¦ Compliance of the building and fire safety requirements etc. | physical |  | photo | medium | physical |  | photo
17 | FMS | FMS-2 | Facility work flow design conforms the scope of services. | Space allocation and effective separation between administrative and technical laboratory areas | 100 | No | Laboratory design/layout that ensures: ¦ Safe environment for patients and the staff. ¦ Clear separation of technical areas and administrative/patient waiting areas. ¦ Uni-directional workflow. | physical |  | photo | high | physical |  | photo
18 | FMS | FMS-2 | Facility work flow design conforms the scope of services. | Measures to limit unauthorized access to work areas of the laboratory | 100 | No | Laboratory technical working areas have controlled access/entry. | physical |  | photo | medium | physical |  | photo
19 | FMS | FMS-3 | The laboratory has plans for fire and non-fire emergencies within the sections. | Plans and provisions for early detection of fire and non-fire emergencies exist[^8] | 100 | No | Plan for fire and non-fire emergencies. ¦ The plan addresses the requirement of early detection of fire and non-fire emergencies. ¦ The provisions to detect the above emergency situations at an early stage as laid out in the plan e.g.: ¦ Smoke detector/s. ¦ Monitoring through CCTV cameras. ¦ Trained staff physically deployed to ensure the required outcome. ¦ The staff is aware of the plan. | recurring | periodic_unspecified | photo | high | recurring | periodic_unspecified | photo
20 | FMS | FMS-3 | The laboratory has plans for fire and non-fire emergencies within the sections. | Provisions for abatement of fire and non-fire emergencies exist | 100 | No | The plan providing for an environment which has lesser chances of occurrence of fire and non-fire emergencies viz: ¦ There is no loose electric wiring to cause short circuiting. ¦ No loose plugs and sockets which can spark. ¦ No power cord/s that is/are worn out to cause electrocution. ¦ Ramps if exist are non-slippery. ¦ Stairs have supporting rails etc. ¦ Building meets, the local construction standards. | physical |  | photo | low | physical |  | photo
21 | FMS | FMS-3 | The laboratory has plans for fire and non-fire emergencies within the sections. | Provisions for containment of fire emergencies exist | 100 | No | Water Source / buckets. ¦ Sand buckets. ¦ Shovel. ¦ Fire extinguisher/s. | needs_review |  | document | low | needs_review |  | document
22 | FMS | FMS-3 | The laboratory has plans for fire and non-fire emergencies within the sections. | Displayed safe exit points in case of fire and non-fire emergencies exist | 100 | No | Emergency Exit points 24/7 illuminated sign board/s displayed. ¦ No obstructions at any time on the emergency exits. ¦ Staff is aware of the emergency exits. | physical |  | photo | high | physical |  | photo
23 | FMS | FMS-3 | The laboratory has plans for fire and non-fire emergencies within the sections. | Mock drills are held at least once in a year | 100 | No | Record of Mock Drills / attendance. ¦ Record confirms that all staff was subjected to the mock drill. ¦ Record of corrective actions taken after mock drills. | recurring | annual | photo | high | recurring | annual | photo
24 | FMS | FMS-3 | The laboratory has plans for fire and non-fire emergencies within the sections. | Staff members are trained for their role in case of such emergencies | 80 | Yes | Record that confirms participation of at least the key staff from each shift. | recurring | periodic_unspecified | photo | high | recurring | periodic_unspecified | photo
25 | HRM | HRM-1 | Staff deployment is in accordance with the scope of laboratory work | Job description for every post is identified and documented | 100 | No | Documented individual Job Descriptions. ¦ Every JD bears the signatures of the employer and the concerned employee. | one_time |  | document | high | one_time |  | document
26 | HRM | HRM-1 | Staff deployment is in accordance with the scope of laboratory work | Eligibility criteria regarding qualification and experience for each job is available | 100 | No | As per the criteria prescribed on the basis of PM&DC Ordinance 1962 and the (Amendment Ordinance) 2012, a Medical Graduate having qualification/s registered with the PM&DC is eligible to manage the laboratory of corresponding Category as detailed in the Guidelines summarized as under: ¦ Higher level specialization like FCPS/FRC Path/PhD/ equivalent etc. in the discipline of Pathology for heading a Laboratory which portrays broader scope of diagnostic services. ¦ A mid-level specialization like MPhil for a Category-B laboratory. ¦ Diploma / equivalent in Clinical Pathology as a minimum for Cat-C laboratories. ¦ A respectively qualified technologist to be the section head. | one_time |  | document | high | one_time |  | document
27 | HRM | HRM-1 | Staff deployment is in accordance with the scope of laboratory work | Recruitments are made according to laid down eligibility criteria | 100 | No | All appointments are according to eligibility criteria. | one_time |  | document | low | one_time |  | document
28 | HRM | HRM-2 | The staff members joining the laboratory are oriented to the laboratory environment, the laboratory sections and their individual jobs. | Appropriate orientation plan for new inducted employee exists | 80 | Yes | Written Orientation Plan covering the following: ¦ general laboratory working ¦ Safety ¦ Biosafety ¦ Quality assurance ¦ SOPs ¦ Specific techniques/tasks assigned to the individual employees | one_time |  | document | high | one_time |  | document
29 | HRM | HRM-2 | The staff members joining the laboratory are oriented to the laboratory environment, the laboratory sections and their individual jobs. | Each staff member is made aware of laboratory wide policies and procedures as well as section/unit/service/program specific policies and procedures | 100 | No | Written record of level specific orientation sessions conducted for all staff covering: ¦ Laboratory wide policy and procedures (General SOPs). ¦ Section/unit/service/program specific policies and procedures. | one_time |  | document | high | one_time |  | document
30 | HRM | HRM-2 | The staff members joining the laboratory are oriented to the laboratory environment, the laboratory sections and their individual jobs. | Each staff member is made aware of his/her rights and responsibilities | 100 | No | Written job contract having clear description of employee rights and responsibilities. ¦ JD duly signed by the employee and the employer. | needs_review |  | document | low | needs_review |  | document
31 | HRM | HRM-2 | The staff members joining the laboratory are oriented to the laboratory environment, the laboratory sections and their individual jobs. | All employees are educated with regard to patients' rights and responsibilities | 80 | Yes | Written record of orientation sessions conducted for all staff regarding patient rights and responsibilities. | recurring | periodic_unspecified | photo | medium | recurring | periodic_unspecified | photo
32 | HRM | HRM-3 | An appraisal system for evaluating the performance of employees exists as an integral part of the human resource management process. | Well-documented performance appraisal tools exist in the laboratory | 100 | No | Written performance appraisal tools (Reporting Format). ¦ Evidence that the Tools can assess actual performance targets. | recurring | periodic_unspecified | document | high | recurring | periodic_unspecified | document
33 | HRM | HRM-3 | An appraisal system for evaluating the performance of employees exists as an integral part of the human resource management process. | All of The employees / Consultants / Students / voluntary workers are made aware of the performance appraisal tools at the time of induction | 100 | No | Documentation that all employees are made aware of the Performance Evaluation/ appraisal tools at the time of induction. ¦ Awareness of the staff Performance Evaluation/ appraisal Tool is confirmed by interviewing. | one_time |  | document | low | one_time |  | document
34 | HRM | HRM-3 | An appraisal system for evaluating the performance of employees exists as an integral part of the human resource management process. | The appraisal is used as a tool for further development. | 80 | Yes | Identified gaps in the performance of employees. ¦ Evidence of corrective actions in accordance with the identified gaps. | recurring | periodic_unspecified | document | high | recurring | periodic_unspecified | document
35 | HRM | HRM-3 | An appraisal system for evaluating the performance of employees exists as an integral part of the human resource management process. | Performance appraisal is carried out at pre-defined intervals and is documented | 80 | Yes | Notified predefined intervals for carrying out the performance appraisals. ¦ Evidence to support the compliance of above. | recurring | annual | document | high | recurring | annual | document
36 | HRM | HRM-4 | Documented personal record for each staff member exists. | Personal files are maintained in respect of all full time/part time employees | 100 | No | HR/Personal files of all employees having following information maintained: ¦ Employees’ contracts showing date of employment ¦ Copies of qualifications like degrees/diplomas/transcripts ¦ Laboratory personnel licenses (where required) ¦ Training and experience ¦ Records continuing education ¦ Job description ¦ Disciplinary background ¦ Evaluation reports ¦ Health status etc. | recurring | periodic_unspecified | document | high | recurring | periodic_unspecified | document
37 | HRM | HRM-5 | In-service staff capacity building record is documented. | In-service training plan for staff members is available | 80 | Yes | Documented plan showing listing of staff including all categories for in service trainings/capacity building. | one_time |  | document | low | one_time |  | document
38 | HRM | HRM-5 | In-service staff capacity building record is documented. | ALL records of in-service training and education are contained in the personal files | 100 | No | Record of attendance to support that in service training was actually conducted. | recurring | periodic_unspecified | document | high | recurring | periodic_unspecified | document
39 | HRM | HRM-6 | There is a process for collecting, verifying and evaluating the credentials (education, registration, training and experience) of laboratory professionals including doctors, technologists and others. | System for verification of documents and certificates of employees exists in the laboratory | 100 | No | Existence of a process for verification of documents with the primary source – such as the university or the training organization or the professional councils. ¦ Evidence that the professional qualifications area currently registered with the respective professional council or body | recurring | periodic_unspecified | document | high | recurring | periodic_unspecified | document
40 | HRM | HRM-6 | There is a process for collecting, verifying and evaluating the credentials (education, registration, training and experience) of laboratory professionals including doctors, technologists and others. | Verification of credentials/documents is done in the laboratory for any newly added qualification/training certificate | 100 | No | Existence of a process for verification of newly added documents with the primary source. ¦ All newly added documents are either found verified or are in the process of verification. | recurring | periodic_unspecified | document | high | recurring | periodic_unspecified | document
41 | MER | MER-1 | Ensure quality of equipment and reagents through standardized procurement procedures. | The procurement procedure of laboratory is laid down | 100 | No | Documented procurement SOPs to comply with the rules/ regulation. | one_time |  | document | high | one_time |  | document
42 | MER | MER-1 | Ensure quality of equipment and reagents through standardized procurement procedures. | Specifications for all the equipment and reagents / kits / consumables to be purchased are documented | 100 | No | A register/file/computer record of specifications. | recurring | periodic_unspecified | photo | medium | recurring | periodic_unspecified | photo
43 | MER | MER-1 | Ensure quality of equipment and reagents through standardized procurement procedures. | Procurement orders are clear, dated and signed | 100 | No | Availability of record as above. | recurring | periodic_unspecified | photo | high | recurring | periodic_unspecified | photo
44 | MER | MER-1 | Ensure quality of equipment and reagents through standardized procurement procedures. | Procured items are regularly entered into stock registers | 100 | No | Up-to-date stock registers. | recurring | monthly | structured_form | high | recurring | monthly | structured_form
45 | MER | MER-2 | Safe handling and storage of laboratory reagents. | Documented policies and procedures guide the safe storage and use of reagents | 100 | No | Written SOPs which guide safe storage and use of reagents. ¦ Issuance and use as per SOPs. | one_time |  | document | low | one_time |  | document
46 | MER | MER-2 | Safe handling and storage of laboratory reagents. | Inventory of reagents is maintained | 100 | No | Up-dated inventory of stored reagents. | recurring | monthly | structured_form | high | recurring | monthly | structured_form
47 | MER | MER-2 | Safe handling and storage of laboratory reagents. | The policies of reagent management include a procedure of alert for near expiry reagents | 100 | No | Availability of written SOPs for creating alert about any item which has expiry date of one month. | recurring | monthly | document | high | recurring | monthly | document
48 | MER | MER-2 | Safe handling and storage of laboratory reagents. | Labelling of reagents is as per SOPs | 100 | No | The labels must bear the following: ¦ Full name of chemical/reagent ¦ Concentration (strength) ¦ Date of dispensing ¦ Date of expiry | one_time |  | document | medium | one_time |  | document
49 | MER | MER-3 | Comprehensive procedures for equipment management and maintenance exist in the laboratory. | Log books of all equipment are available | 100 | No | Availability of updated log books. | recurring | periodic_unspecified | photo | high | recurring | periodic_unspecified | photo
50 | MER | MER-3 | Comprehensive procedures for equipment management and maintenance exist in the laboratory. | Regular periodic maintenance and calibration record of all the equipment is available in the log books | 100 | No | The log books contain record of any breakdowns, repairs and maintenance. | recurring | periodic_unspecified | structured_form | high | recurring | periodic_unspecified | structured_form
51 | MER | MER-3 | Comprehensive procedures for equipment management and maintenance exist in the laboratory. | Documented and relevant log sheet is displayed on each equipment | 80 | Yes | The log sheets are displayed on the equipment. | recurring | periodic_unspecified | photo | high | recurring | periodic_unspecified | photo
52 | MER | MER-3 | Comprehensive procedures for equipment management and maintenance exist in the laboratory. | Emergency contact number/s is displayed on all equipment | 80 | Yes | Availability of emergency contact number of the technician or the firm for emergency management of equipment breakdown. | physical |  | photo | high | physical |  | photo
53 | MER | MER-3 | Comprehensive procedures for equipment management and maintenance exist in the laboratory. | Equipment inventory is maintained | 100 | No | Availability of equipment inventory showing; ¦ Date of purchase. ¦ Its source (Manufacturer/importer/distributor/vendor). ¦ Date of commissioning (date of first operationalization). ¦ Date/s of calibration. | recurring | periodic_unspecified | structured_form | high | recurring | periodic_unspecified | structured_form
54 | RRS | RRS-1 | The laboratory has a complete and accurate laboratory record for every patient[^10]. | Electronic record of every patient is maintained | 100 | No | Computerized laboratory record of reagents and tests conducted. | recurring | periodic_unspecified | photo | high | recurring | periodic_unspecified | photo
55 | RRS | RRS-1 | The laboratory has a complete and accurate laboratory record for every patient[^10]. | Every laboratory record has a unique identifier | 100 | No | Use of unique identifier numbers for each patient. | recurring | periodic_unspecified | photo | high | recurring | periodic_unspecified | photo
56 | RRS | RRS-1 | The laboratory has a complete and accurate laboratory record for every patient[^10]. | The record provides an up-to-date and chronological account of each patient’s record of tests | 100 | No | The patients record is chronological. | recurring | periodic_unspecified | photo | high | recurring | periodic_unspecified | photo
57 | RRS | RRS-1 | The laboratory has a complete and accurate laboratory record for every patient[^10]. | Only authorized person to make entries in the laboratory record | 100 | No | Written authorization of particular staff who can perform data entry. | recurring | periodic_unspecified | photo | high | recurring | periodic_unspecified | photo
58 | RRS | RRS-1 | The laboratory has a complete and accurate laboratory record for every patient[^10]. | Every laboratory record entry is dated, timed and person making entries can be identified | 100 | No | The lab records are dated, timed and person making the data entries can be identified. | recurring | periodic_unspecified | photo | high | recurring | periodic_unspecified | photo
59 | RRS | RRS-2 | Comprehensive reporting system exists in the laboratory | Computerised reporting system is available | 100 | No | Availability of computerized reporting system. ¦ All reports to bear digital/manual signatures / name of the authenticating Pathologist. | recurring | periodic_unspecified | photo | high | recurring | periodic_unspecified | photo
60 | RRS | RRS-2 | Comprehensive reporting system exists in the laboratory | Critical Results and Notifiable diseases are reported | 100 | No | List of notifiable diseases available. ¦ All notifiable reports submitted to concerned authorities. | recurring | periodic_unspecified | photo | medium | recurring | periodic_unspecified | photo
61 | RRS | RRS-3 | The laboratory record supports continuity of patient care | Minimum reporting time for every test is documented | 100 | No | The minimum reporting time for every test is documented and displayed for information of patients/clients. | physical |  | photo | low | physical |  | photo
62 | RRS | RRS-3 | The laboratory record supports continuity of patient care | Reports are accessible to individual patients through a specific code[^13] | 100 | No | The patients/clients/doctor can access the reports online through a given code. | recurring | periodic_unspecified | photo | high | recurring | periodic_unspecified | photo
63 | QA | QA-1 | The laboratory has a comprehensive and documented Quality Assurance program. | The laboratory has Quality Assurance SOPs | 80 | Yes | Written SOPs on laboratory QA covering both IQA and EQA components. | one_time |  | document | low | one_time |  | document
64 | QA | QA-1 | The laboratory has a comprehensive and documented Quality Assurance program. | There is designated focal person responsible for Quality Assurance (QA) activities in laboratory | 100 | No | Designation of focal person with clear responsibilities regarding QA in the laboratory. | needs_review |  | document | low | needs_review |  | document
65 | QA | QA-1 | The laboratory has a comprehensive and documented Quality Assurance program. | QA SOPs are communicated and coordinated among the staff | 100 | No | Dissemination of written SOPs on laboratory QA containing both IQA and EQA components to the staff. ¦ Staff training/capacity building/orientation on the SOPs for coordination among the staff. | physical |  | photo | low | physical |  | photo
66 | QA | QA-2 | EQA compliance procedures and tools are available in the laboratory. | EQA of the laboratory is ensured through external assessment by nationally / internationally recognised bodies | 100 | No | EQA certification from NEQAS (AFIP)/any other recognized institute issued during last one year. | needs_review |  | document | low | needs_review |  | document
67 | QA | QA-2 | EQA compliance procedures and tools are available in the laboratory. | Record of EQA reports is maintained | 100 | No | EQA reports from NEQAS (AFIP)/any other recognized institute issued in last one year. | recurring | periodic_unspecified | photo | high | recurring | periodic_unspecified | photo
68 | QA | QA-3 | IQA is ensured through standardized laboratory practices. | Policies and procedures guide the safe collection of specimens | 100 | No | SOPs for safe collection of specimens available. ¦ Evidence that the SOPs for safe collection of specimens are being implemented. | one_time |  | document | high | one_time |  | document
69 | QA | QA-3 | IQA is ensured through standardized laboratory practices. | Policies and procedures guide the Identification and proper labelling of specimens | 100 | No | SOPs for patient identification and labelling of specimens available. ¦ SOPs for patient identification and labelling of specimens being implemented. | one_time |  | document | high | one_time |  | document
70 | QA | QA-3 | IQA is ensured through standardized laboratory practices. | Policies and procedures guide the safe handling of specimens | 100 | No | SOPs for safe handling of specimens available. ¦ SOPs for safe handling of specimens being practiced. | one_time |  | document | high | one_time |  | document
71 | QA | QA-3 | IQA is ensured through standardized laboratory practices. | Policies and procedures guide the safe transportation of specimens | 100 | No | SOPs for safe internal and external transportation of specimens available. ¦ SOPs for safe transportation of specimens being practiced. | one_time |  | document | high | one_time |  | document
72 | QA | QA-3 | IQA is ensured through standardized laboratory practices. | Policies and procedures guide the safe processing of specimens | 100 | No | SOPs for safe processing of specimens available. ¦ SOPs for safe processing being practiced. | one_time |  | document | high | one_time |  | document
73 | QA | QA-3 | IQA is ensured through standardized laboratory practices. | Policies and procedures guide the safe disposal of specimens | 100 | No | SOPs for safe disposal of specimens available. ¦ SOPs for safe disposal of specimens being practiced. | one_time |  | document | high | one_time |  | document
74 | QA | QA-3 | IQA is ensured through standardized laboratory practices. | Availability of controls for IQA is ensured | 100 | No | Controls are available for IQA. ¦ Controls are used for IQA as per technical instructions. | recurring | periodic_unspecified | photo | medium | recurring | periodic_unspecified | photo
75 | QA | QA-3 | IQA is ensured through standardized laboratory practices. | Process cycle records are maintained | 100 | No | Every Process Cycle record having following information are maintained: ¦ Date of process ¦ Process start and end time ¦ Sample identity ¦ Total samples in each process ¦ Signatures of the person authorized to operate the machine on each process cycle record | recurring | periodic_unspecified | photo | high | recurring | periodic_unspecified | photo
76 | QA | QA-4 | Continuous laboratory improvement is documented. | Gaps are identified through QA reports and used as tool for improvement | 100 | No | EQA and IQA Reports identifying gaps in procedures and processes. ¦ Evidence that identified gaps are used as tools for improvement. | needs_review |  | document | low | needs_review |  | document
77 | QA | QA-4 | Continuous laboratory improvement is documented. | Corrective actions are implemented upon identification of gaps | 100 | No | EQA and IQA Reports suggest corrective actions for the identified gaps. ¦ Record confirms that suggested corrective actions are implemented. | recurring | periodic_unspecified | photo | medium | recurring | periodic_unspecified | photo
78 | QA | QA-4 | Continuous laboratory improvement is documented. | Measures are taken to minimise recurrence of errors | 100 | No | Documented evidence for measures taken to minimize recurrence of errors. | recurring | periodic_unspecified | photo | medium | recurring | periodic_unspecified | photo
79 | BSBS | BSBS-1 | Laboratory has comprehensive and coordinated Biosafety Program | Availability of laboratory Biosafety SOPs | 100 | No | Documented laboratory Biosafety SOPs available. | one_time |  | document | low | one_time |  | document
80 | BSBS | BSBS-1 | Laboratory has comprehensive and coordinated Biosafety Program | Biosafety SOPs are communicated to the laboratory employees | 100 | No | Record confirms that copies of written Biosafety SOPs are provided to the laboratory employees. ¦ Record confirms that the staff was trained to implement these SOPs. ¦ Staff are aware of these SOPs. | one_time |  | document | low | one_time |  | document
81 | BSBS | BSBS-1 | Laboratory has comprehensive and coordinated Biosafety Program | The laboratory has designated qualified technician for ensuring biosafety activities | 100 | No | Designation of a qualified technician for ensuring biosafety activities. | one_time |  | document | low | one_time |  | document
82 | BSBS | BSBS-1 | Laboratory has comprehensive and coordinated Biosafety Program | Regular biosafety monitoring reports are generated in the laboratory | 100 | No | Record of monthly biosafety monitoring reports prepared by the designated technician. ¦ These reports are submitted to the laboratory head on regular basis. | recurring | monthly | photo | high | recurring | monthly | photo
83 | BSBS | BSBS-2 | Continuous staff biosafety measures are ensured and documented. | The laboratory has appropriate consumables, equipment and facilities to ensure biosafety | 100 | No | Availability of required PPE. | recurring | monthly | photo | high | recurring | monthly | photo
84 | BSBS | BSBS-2 | Continuous staff biosafety measures are ensured and documented. | All staff involved in the handling and disposal of laboratory waste shall receive regular vaccination | 100 | No | Record of Vaccination of staff at risk against HIV/Hepatitis C. | recurring | periodic_unspecified | photo | medium | recurring | periodic_unspecified | photo
85 | BSBS | BSBS-2 | Continuous staff biosafety measures are ensured and documented. | Annual medical check-up of all staff is documented | 100 | No | Record of annual medical checkup of all staff involved in handling of bio hazardous laboratory material. | recurring | annual | photo | high | recurring | annual | photo
86 | BSBS | BSBS-3 | Patient biosafety is ensured and documented. | Proper ventilated waiting areas for patients are available | 100 | No | Effective ventilation either naturally or by means of exhaust fan/s. | needs_review |  | document | low | needs_review |  | document
87 | BSBS | BSBS-3 | Patient biosafety is ensured and documented. | Patients are not allowed inside the laboratory working area | 100 | No | Evidence of controlled entry into the laboratory working area. | needs_review |  | document | low | needs_review |  | document
88 | BSBS | BSBS-4 | Documented procedure of bio risk management. | All incident reports are documented | 100 | No | Record of reporting the incidents which breached laboratory biosafety. ¦ Record of action/s taken on occurrence of the same. | recurring | periodic_unspecified | photo | high | recurring | periodic_unspecified | photo
89 | BSBS | BSBS-4 | Documented procedure of bio risk management. | Required disinfectants/spill kits are available in the laboratory | 100 | No | Availability of required disinfectants/spill kits in the laboratory. ¦ Record of regular use of the same. | recurring | monthly | photo | high | recurring | monthly | photo
90 | BSBS | BSBS-5 | Measures to ensure biosecurity in the laboratory are practiced. | Only authorised persons are permitted to enter sample storage area | 100 | No | Only authorized persons are permitted to go to sample storage area. ¦ Persons so authorized are identifiable through IDs being worn. | needs_review |  | document | low | needs_review |  | document
91 | BSBS | BSBS-5 | Measures to ensure biosecurity in the laboratory are practiced. | Any transportation of samples is properly recorded | 100 | No | Record of samples transported to other labs, if any is available. | recurring | periodic_unspecified | photo | high | recurring | periodic_unspecified | photo
92 | BSBS | BSBS-6 | The Laboratory has a well-designed, comprehensive and coordinated waste management plan. | Written laboratory waste management SOPs are available | 100 | No | Written laboratory waste management SOPs available. | one_time |  | document | medium | one_time |  | document
93 | BSBS | BSBS-6 | The Laboratory has a well-designed, comprehensive and coordinated waste management plan. | Waste management SOPs are communicated to the laboratory employees | 100 | No | Copies of the lab waste management SOPs are provided to the laboratory employees. ¦ Laboratory employees are conversant with the lab waste management SOPs. | one_time |  | document | medium | one_time |  | document
94 | BSBS | BSBS-6 | The Laboratory has a well-designed, comprehensive and coordinated waste management plan. | The laboratory has appropriate consumables, collection and handling systems and equipment for waste management | 100 | No | Sufficient and appropriate quantity of following is available: ¦ Color coded bags for waste segregation. ¦ Color coded waste collection bins ¦ Color coded waste trolleys. ¦ Storage area for hazardous waste. ¦ Waste disposal mechanism is available. | needs_review |  | document | low | needs_review |  | document
95 | BSBS | BSBS-6 | The Laboratory has a well-designed, comprehensive and coordinated waste management plan. | Contracts with waste disposal service organisations are available | 100 | No | Written contract with the waste disposal services if the lab does not dispose of the hazardous waste through onsite mechanism. | one_time |  | document | medium | one_time |  | document
96 | BSBS | BSBS-6 | The Laboratory has a well-designed, comprehensive and coordinated waste management plan. | Waste transported from collection centres for final disposal is recorded[^15] | 100 | No | Record in terms of weight, time and date, of risk waste for offsite final disposal. | recurring | periodic_unspecified | photo | medium | recurring | periodic_unspecified | photo
97 | AAC | AAC-1 | Laboratory services are easily accessible. | Laboratory location is easily accessible | 100 | No | Laboratory location is easily accessible for all round the clock. | needs_review |  | document | low | needs_review |  | document
98 | AAC | AAC-1 | Laboratory services are easily accessible. | Basic facilities are accessible in the laboratory | 100 | No | Following available at the least: ¦ Clean water supply ¦ Power supply with backup ¦ Sufficient parking place | needs_review |  | document | low | needs_review |  | document
99 | AAC | AAC-1 | Laboratory services are easily accessible. | There are clean toilets / washrooms with bolts, preferably separate for males and females. | 80 | Yes | Onsite toilets preferably separate for male and female available. ¦ Cleanliness ensured. ¦ Privacy ensure. | needs_review |  | document | low | needs_review |  | document
100 | AAC | AAC-1 | Laboratory services are easily accessible. | Facilitated toilets for disabled patients are available in the laboratory | 100 | No | Facilitated toilets for disabled patients available in labs with wider scope of services. | needs_review |  | document | low | needs_review |  | document
101 | AAC | AAC-1 | Laboratory services are easily accessible. | Disabled patients are facilitated for the phlebotomy | 100 | No | Disabled persons can easily reach the phlebotomist. | needs_review |  | document | low | needs_review |  | document
102 | AAC | AAC-1 | Laboratory services are easily accessible. | Directional arrows pointing towards various important areas for patients are displayed in the laboratory | 100 | No | Directional arrows pointing towards at least the following: ¦ Sample collection area. ¦ Report collection area. ¦ Toilets. | physical |  | photo | medium | physical |  | photo
103 | AAC | AAC-2 | Standard 19. AAC-2: Laboratory services are provided as portrayed / claimed. | Laboratory services being provided are displayed | 80 | Yes | Menu of services (Types of tests which can be done) displayed. ¦ List of tests which can be done is available. | physical |  | photo | medium | physical |  | photo
104 | AAC | AAC-3 | Comprehensive audit system for laboratory performance assessment exists in the laboratory. | There is a system to monitor and measure the performance of the laboratory biannually against the stated mission | 100 | No | System to monitor and measure the performance of the laboratory biannually against the stated mission is deployed. | recurring | biannual | photo | high | recurring | biannual | photo
105 | AAC | AAC-3 | Comprehensive audit system for laboratory performance assessment exists in the laboratory. | Compare kits procured with tests performed during laboratory performance audit | 100 | No | Audit of kits procured with the number of tests conducted with each. ¦ Action taken in case of disparity. | recurring | monthly | photo | high | recurring | monthly | photo
106 | COP | COP-1 | Emergency handling of patients is guided by protocols. | Protocols for first aid to emergency patient care are documented | 100 | No | SOPs to manage emergencies as mentioned above. ¦ Staff conversant with the SOPs. | one_time |  | document | high | one_time |  | document
107 | COP | COP-1 | Emergency handling of patients is guided by protocols. | Relevant contact numbers for emergency evacuation/referral are available in the laboratory | 80 | Yes | List of contact numbers of the following for use in emergency is displayed; ¦ Nearest referral hospitals/clinics. ¦ Rescue 1122. ¦ Other ambulance services. ¦ Police Station. ¦ Fire Brigade. ¦ NGOs/CBOs etc. operating in the area. | physical |  | photo | high | physical |  | photo
108 | COP | COP-2 | Sentinel events are intensively analysed. | The laboratory has defined sentinel events | 100 | No | Laboratory has defined sentinel events and a written definition is available. ¦ List of possible sentinel events is available. | recurring | periodic_unspecified | photo | medium | recurring | periodic_unspecified | photo
109 | COP | COP-2 | Sentinel events are intensively analysed. | Sentinel events are intensively analysed when they occur | 100 | No | Record of a sentinel event/s that occurred and was intensively analyzed. ¦ Corrective actions to avoid recurrence. | recurring | periodic_unspecified | photo | high | recurring | periodic_unspecified | photo
110 | COP | COP-3 | The laboratory policies and procedures support domiciliary services to the patients (where applicable/claimed). | The laboratory is equipped with means of communication and transport services for home based patient sample collection | 80 | Yes | Availability of functional means of communication. ¦ Availability of transport viz: two wheeler/for wheeler as suited. | recurring | periodic_unspecified | photo | high | recurring | periodic_unspecified | photo
111 | COP | COP-3 | The laboratory policies and procedures support domiciliary services to the patients (where applicable/claimed). | The laboratory has appropriate means of collection and transportation of samples of home based patients | 100 | No | Availability of items for Phlebotomy viz tourniquet, alcohol swabs, disposable syringes with appropriately gauged needles. ¦ Containers for samples of blood, sputum and urine etc. ¦ A suitable box to contain all above and safe transportation of sample to laboratory. | physical |  | photo | medium | physical |  | photo
112 | PRE | PRE-1 | A system exists for obtaining consent when it is required. | The laboratory has listed those situations where specific informed consent is required | 100 | No | List of situations requiring informed consent. | recurring | periodic_unspecified | photo | high | recurring | periodic_unspecified | photo
113 | PRE | PRE-1 | A system exists for obtaining consent when it is required. | The policy describes who can give consent when patient is incapable of independent decision-making | 100 | No | Written directions as to who can give consent when patient is incapable of independent decision-making for providing informed consent. | one_time |  | document | low | one_time |  | document
114 | PRE | PRE-2 | Patient and families have a right to information on expected costs | The tariff list is available to patients | 100 | No | Tarrif list available for showing on demand. ¦ Patients/clients informed the rates of their required tests. | recurring | periodic_unspecified | photo | medium | recurring | periodic_unspecified | photo
115 | PRE | PRE-2 | Patient and families have a right to information on expected costs | Patients / family is informed about the additional reports which are generated / included in the report with the same sample and cost | 100 | No | Clients informed about the additional reports possible in a cost effective package. ¦ Above information provided by a doctor or a qualified and authorized lab technician. | needs_review |  | document | low | needs_review |  | document
116 | PRE | PRE-3 | Patient Rights for appeals, complaints and confidentiality | Patient’s complaints are accepted by the laboratory and properly registered | 100 | No | A complaint register/record is maintained. ¦ A complaint box is affixed in the patient waiting area. | recurring | periodic_unspecified | photo | high | recurring | periodic_unspecified | photo
117 | PRE | PRE-3 | Patient Rights for appeals, complaints and confidentiality | Proper actions and remedial measures are taken in response to patient’s complaints | 100 | No | Record of actions taken on the complaint. | recurring | periodic_unspecified | photo | high | recurring | periodic_unspecified | photo
118 | PRE | PRE-3 | Patient Rights for appeals, complaints and confidentiality | Confidentiality of patient’s record is maintained | 100 | No | Only the authorized persons have access to patient related information. | recurring | periodic_unspecified | photo | high | recurring | periodic_unspecified | photo

## Legend & Instructions
How to use this sheet
Columns A-L are Claude's extraction + first-pass draft classification from the PHC MSDS Reference Manual (118 indicators, 37 standards, 10 domains).
Columns M-P (blue) are yours to edit. M, N, O are pre-filled with the suggested values as a starting point - overwrite via the dropdown wherever the suggestion is wrong.
Row highlight key
Orange (columns A-E, I) = 'needs_review': no keyword rule matched confidently. These need a manual category decision.
Yellow (columns I-L) = low-confidence rule match: worth a second look, especially if Physical/One-time/Recurring scores tied.
Blue (columns M-P) = your editable review columns.
Categories
physical: static infrastructure evidence (photo/attachment), rarely changes.
one_time: SOP/policy/document, set once, revised every 2-3 years.
recurring: evidence generated on an ongoing basis - set a frequency in column N.
Frequencies (only meaningful when category = recurring)
none / daily / weekly / monthly / biannual / annual
Evidence Format
photo: photograph of an existing paper log/register/board/certificate.
document: a file upload (SOP, policy, minutes, certificate scan, etc).
structured_form: digital fields entered directly (e.g. date/time/value/initials for a fridge temperature reading) - enables automatic out-of-range flagging.
Weightage
From the MSDS manual itself: 97 indicators require 100% (fully met only), 21 indicators accept partial compliance scored at 80% weightage (fully/partially/not met). This is separate from your category/frequency/format tagging and doesn't need editing.
Once you've finished editing, send the file back and Claude will lock these as the canonical indicator registry for the build.