AL SHIFA LABORATORY

PHC Registration No. P-20787  ·  Circular Road, Jaranwala, Punjab

SOP

Specimen Management SOP — Collection Through Disposal

| Document No. | ASL-SOP-12 |
| --- | --- |
| Document Type | SOP |
| Version | 1.0 (Draft) |
| Status | DRAFT — PENDING PATHOLOGIST APPROVAL |
| Applies To | Al Shifa Laboratory, Circular Road, Jaranwala, Punjab (PHC Reg. No. P-20787) |
| Related MSDS Indicator(s) | #68 (QA-3), #69 (QA-3), #70 (QA-3), #71 (QA-3), #72 (QA-3), #73 (QA-3) |
| Effective Date | ___________________ (to be entered on approval) |
| Next Scheduled Review | 2–3 years from effective date (per locked SOP revision policy) |

# 1. Purpose

This SOP governs the entire lifecycle of a specimen at Al Shifa Laboratory — collection, identification and labelling, handling, transportation, processing, and disposal — to ensure patient safety, specimen integrity, and full traceability at every stage.

# 2. Scope

Applies to all specimen types (blood, urine, stool, sputum, and other body fluids) collected or processed across all four sections: Hematology (Routine), Microbiology (Routine — no cultures), Biochemistry (Routine), Immunology (Routine).

# 3. Responsibility

- Dr. Mubashr Ahmed — technical oversight of every stage of the specimen lifecycle.

- All laboratory technicians — execution of the procedures below.

- Kinza (BS MLT) — biosafety compliance during handling, transport, and disposal.

# 4. Collection

- Verify patient identity using two identifiers (full name plus MR/sample ID or date of birth) before collection.

- Explain the procedure to the patient and confirm any pre-collection requirement has been met (e.g. fasting, where applicable).

- Follow standard venipuncture/collection technique using universal precautions: single-use sterile needles/lancets and the correct tube or container for the requested test.

- Apply post-draw site care (pressure, dressing) before the patient leaves the collection area.

- For pediatric or difficult draws, a second qualified staff member assists.

# 5. Identification & Labelling

- The specimen is labelled immediately after collection, at the patient's side, before the sample leaves their presence.

- The label bears: patient name, MR/sample ID, date and time of collection, and the test requested.

- Two-identifier verification is repeated between the specimen and the request form before the label is applied.

- Any specimen received unlabelled or with mismatched identifiers is rejected and a fresh sample is requested — this is never overridden.

# 6. Handling

- Gloves are worn at minimum for all specimen handling; additional PPE per the Biosafety SOP (ASL-SOP-13) where splash risk exists.

- Tubes are handled and stored in the correct orientation to prevent hemolysis.

- One specimen is handled to completion, or specimens are physically and visually separated, to prevent mix-ups.

- Any spill is responded to immediately per the Biosafety SOP spill protocol.

# 7. Transportation

- Internal transport within the laboratory uses a secondary leak-proof container or rack.

- External transport (referral to Citilab, Lahore under ASL-POL-01) uses a secondary containment biohazard bag with absorbent material, with temperature control (ice packs) where the analyte requires it, and is logged in the Transport/Referral Register.

- Transport time is kept within the stability window of the analyte being tested.

# 8. Processing

- Specimens are processed within the analyte-specific stability window from the time of collection.

- Centrifugation and other pre-analytical steps follow the parameters specified for each test.

- Batch processing order is managed to avoid unnecessary delay to any single specimen.

- Any critical value is flagged and communicated immediately per the laboratory's critical value notification practice.

# 9. Disposal

- Post-testing specimens (serum/plasma) are retained under refrigeration for a defined period to allow repeat or add-on testing, then disposed of.

- All specimen disposal follows the Waste Management SOP (ASL-SOP-14) as biohazardous waste.

- No specimen leaves the laboratory except as a processed report, or as a specimen referred under the MOU (ASL-POL-01).

# 10. Implementation Evidence

This SOP's existence satisfies the one-time documentary requirement for indicators 68–73. Evidence that the SOP is being implemented in daily practice (spot-checks, observed compliance) is captured separately as recurring evidence in AccrediOps Section A.

# Regulatory Basis

This document is the designated evidence for the following PHC MSDS indicator(s). Text is reproduced verbatim from the canonical indicator registry (docs/data/indicators_master.json) for traceability.

| Ind. ID | Standard | Wt. | Indicator Text (verbatim from PHC MSDS manual) | Compliance Requirements This Document Addresses |
| --- | --- | --- | --- | --- |
| 68 | QA-3 | 100 | Policies and procedures guide the safe collection of specimens | SOPs for safe collection of specimens available. • Evidence that the SOPs for safe collection of specimens are being implemented. |
| 69 | QA-3 | 100 | Policies and procedures guide the Identification and proper labelling of specimens | SOPs for patient identification and labelling of specimens available. • SOPs for patient identification and labelling of specimens being implemented. |
| 70 | QA-3 | 100 | Policies and procedures guide the safe handling of specimens | SOPs for safe handling of specimens available. • SOPs for safe handling of specimens being practiced. |
| 71 | QA-3 | 100 | Policies and procedures guide the safe transportation of specimens | SOPs for safe internal and external transportation of specimens available. • SOPs for safe transportation of specimens being practiced. |
| 72 | QA-3 | 100 | Policies and procedures guide the safe processing of specimens | SOPs for safe processing of specimens available. • SOPs for safe processing being practiced. |
| 73 | QA-3 | 100 | Policies and procedures guide the safe disposal of specimens | SOPs for safe disposal of specimens available. • SOPs for safe disposal of specimens being practiced. |

# Approval

This document does not become filed evidence until both signatures below are obtained. Per AccrediOps governance rules, drafts are never auto-published.

| Prepared By Signature: ______________________________ Name: Dr. Munaim Tahir Designation: Laboratory In-Charge / Administrative Head Date: ______________________________ | Reviewed & Approved By Signature: ______________________________ Name: Dr. Mubashr Ahmed Designation: Supervising Pathologist / Technical Head Date: ______________________________ |
| --- | --- |