AL SHIFA LABORATORY

PHC Registration No. P-20787  ·  Circular Road, Jaranwala, Punjab

Register / Template

IQA Controls & Process Cycle Log

| Document No. | ASL-REC-23 |
| --- | --- |
| Document Type | Register / Template |
| Version | 1.0 (Draft) |
| Status | DRAFT — PENDING PATHOLOGIST APPROVAL |
| Applies To | Al Shifa Laboratory, Circular Road, Jaranwala, Punjab (PHC Reg. No. P-20787) |
| Related MSDS Indicator(s) | #74 (QA-3), #75 (QA-3) |
| Recurring Evidence Frequency | Per test run |
| Effective Date | ___________________ (to be entered on approval) |
| Next Scheduled Review | 2–3 years from effective date (per locked SOP revision policy) |

# 1. Purpose

Ensure Internal Quality Assurance (IQA) controls are available and used per technical instructions, and every process cycle is recorded, per the QA Program (ASL-POL-11).

# 2. IQA Control Usage Log

| Date | Test | Control Used | Expected Range | Result | In Range (Y/N) | Action if Out |
| --- | --- | --- | --- | --- | --- | --- |
| 01-Feb-2026 (EXAMPLE) | Glucose | Level 1/2 control | — | — | Y | N/A |

# 3. Process Cycle Record

| Date | Start/End Time | Sample IDs | Total Samples | Operator Signature |
| --- | --- | --- | --- | --- |
| 01-Feb-2026 (EXAMPLE) | 09:00–11:00 | AS-0140 to AS-0150 | 11 | — |

# Regulatory Basis

This document is the designated evidence for the following PHC MSDS indicator(s). Text is reproduced verbatim from the canonical indicator registry (docs/data/indicators_master.json) for traceability.

| Ind. ID | Standard | Wt. | Indicator Text (verbatim from PHC MSDS manual) | Compliance Requirements This Document Addresses |
| --- | --- | --- | --- | --- |
| 74 | QA-3 | 100 | Availability of controls for IQA is ensured | Controls are available for IQA. • Controls are used for IQA as per technical instructions. |
| 75 | QA-3 | 100 | Process cycle records are maintained | Every Process Cycle record having following information are maintained: • Date of process • Process start and end time • Sample identity • Total samples in each process • Signatures of the person authorized to operate the machine on each process cycle record |

# Approval

This document does not become filed evidence until both signatures below are obtained. Per AccrediOps governance rules, drafts are never auto-published.

| Prepared By Signature: ______________________________ Name: Dr. Munaim Tahir Designation: Laboratory In-Charge / Administrative Head Date: ______________________________ | Reviewed & Approved By Signature: ______________________________ Name: Dr. Mubashr Ahmed Designation: Supervising Pathologist / Technical Head Date: ______________________________ |
| --- | --- |