AL SHIFA LABORATORY

PHC Registration No. P-20787  ·  Circular Road, Jaranwala, Punjab

SOP / Register

Laboratory Record-Keeping SOP (Electronic Records)

| Document No. | ASL-REC-27 |
| --- | --- |
| Document Type | SOP / Register |
| Version | 1.0 (Draft) |
| Status | DRAFT — PENDING PATHOLOGIST APPROVAL |
| Applies To | Al Shifa Laboratory, Circular Road, Jaranwala, Punjab (PHC Reg. No. P-20787) |
| Related MSDS Indicator(s) | #54 (RRS-1), #55 (RRS-1), #56 (RRS-1), #57 (RRS-1), #58 (RRS-1) |
| Recurring Evidence Frequency | Continuous (system-enforced) / Periodic verification |
| Effective Date | ___________________ (to be entered on approval) |
| Next Scheduled Review | 2–3 years from effective date (per locked SOP revision policy) |

# 1. Purpose

Govern how Al Shifa Laboratory's existing Laboratory Information System (LIS) maintains a complete, accurate, chronological electronic record for every patient, with unique identifiers and controlled, attributable data entry.

# 2. System in Use

Al Shifa Laboratory uses Xmed EMR/LIMS for patient registration, receipt printing, result entry, digital verification against record, and report printing.

# 3. How Each Requirement Is Met

- Electronic record — every patient's registration, tests, and results are captured in the LIS, not on loose paper.

- Unique identifier — the LIS assigns a unique patient/sample ID at registration; this ID is used on the label, request form, and report.

- Chronological, up-to-date record — the LIS timestamps every entry, giving an ordered record of each patient's tests over time.

- Authorized entry only — only staff with an active LIS login may enter or amend data (Section 4).

- Dated, timed, attributable entries — the LIS records the date, time, and logged-in user for every entry.

# 4. Authorized LIS Users

| Name | LIS User Role | Authorized By | Date Authorized |
| --- | --- | --- | --- |
| Dr. Mubashr Ahmed | Full access (results, verification, reporting) | Dr. Munaim Tahir | — |
| Kinza (BS MLT) | Registration / data entry | Dr. Munaim Tahir | — |

# 5. Periodic Verification

Access rights and the accuracy of a sample of chronological records are spot-checked periodically by Dr. Munaim Tahir.

# Regulatory Basis

This document is the designated evidence for the following PHC MSDS indicator(s). Text is reproduced verbatim from the canonical indicator registry (docs/data/indicators_master.json) for traceability.

| Ind. ID | Standard | Wt. | Indicator Text (verbatim from PHC MSDS manual) | Compliance Requirements This Document Addresses |
| --- | --- | --- | --- | --- |
| 54 | RRS-1 | 100 | Electronic record of every patient is maintained | Computerized laboratory record of reagents and tests conducted. |
| 55 | RRS-1 | 100 | Every laboratory record has a unique identifier | Use of unique identifier numbers for each patient. |
| 56 | RRS-1 | 100 | The record provides an up-to-date and chronological account of each patient’s record of tests | The patients record is chronological. |
| 57 | RRS-1 | 100 | Only authorized person to make entries in the laboratory record | Written authorization of particular staff who can perform data entry. |
| 58 | RRS-1 | 100 | Every laboratory record entry is dated, timed and person making entries can be identified | The lab records are dated, timed and person making the data entries can be identified. |

# Approval

This document does not become filed evidence until both signatures below are obtained. Per AccrediOps governance rules, drafts are never auto-published.

| Prepared By Signature: ______________________________ Name: Dr. Munaim Tahir Designation: Laboratory In-Charge / Administrative Head Date: ______________________________ | Reviewed & Approved By Signature: ______________________________ Name: Dr. Mubashr Ahmed Designation: Supervising Pathologist / Technical Head Date: ______________________________ |
| --- | --- |